## Slide 1: Measure polarization in potassium isotopes
Dante Prins
TRIUMF TRINAT

## Slide 2: Potassium 37 beta decay asymmetry experiment
Beta decay is known to violate parity symmetry, having a chirality dependance and a bias for left handedness. Our experiment polarized the parent atom and measures beta emission direction.
0nm
Notes: Beta decay asymmetry polarization probing needs 405nm light

## Slide 3: Polarization measurement
5p1/2
4s1/2
4p1/2
770nm
405nm
Probe light tuned to hyperfine polarization.
Polarization pumping light
In the presence of a magnetic field energies will shift allowing us to probe individual polarizations.
F=2
F=1
= 2
= 1
= 0
= -1
= -2
= -1
= 0
= 1
Zeeman effect splitting for 5p1/2 K41
Zeeman effect at medium magnetic fields

## Slide 4
Photo darkening resistant FC/AFC fiber
λ/2
To atom trap
To Wavemeter
laser
AOM
λ/4
λ/2
To laser lock
↕
↕
↔
λ/4
λ/4
↺
↻
↕
↕
↕
↔
↔
↔
↔
↕
↕
↕ means up/down regardless of beam direction.
↔ means left/right regardless of beam direction.
BS
BS
PBS
PBS
↻
↺
Probe light
Pump light
↻
Potassium vapor
Zeeman dither solenoid
Notes: ↑ ← → ↻ ↔ ↕ ↺

## Slide 5: Hyperfine structure splitting varies by isotope
MHz
MHz
MHz
Isotope | Abundance
K37 | 1.23s half life
K39 | 93%
K41 | 7%
How do we lock the trap to K39 spectra but scan K37?

## Slide 6: Isotope frequency shift is corrected by Acousto-Optical Modulator
K37
+2x150MHz
Laser
Double pass Acousto-Optical Modulator
Potassium cell
K41
K39
Feedback signal
Current and voltage control
Power detector
405nm light
Atom trap
Picture of aom module

## Slide 7: Acousto-Optical Modulator physics
Sound wave in crystal
Diffracted wave gets frequency boost
The incoming light is Doppler shifted to a higher frequency in the reference frame of the moving Bragg plane before being diffracted.

## Slide 8: Beam polarization
Notes: We skip this for sake of time

## Slide 9: K cell sat spectroscopy
We know the cell will absorb light at transitions frequencies, how do we arrive at the actual absorption signal?
Probe beam
Pump beam
decreasing absorption (increasing power)
Increasing frequency
Potassium cell
Notes: okay now that we have the right wavelength lets understand how this lets us lock the laser, first lets consider only the incoming beam. K atoms absorb the light as transitions to the 5p1/2 at an increased polarization due to the spin momentum of the light

## Slide 10: Hyperfine structure frequencies for K39
254MHz
18MHz
740THz
Hyperfine transition to | Shift from
 | 295MHz
 | 277MHz
 | -166MHz
 | -184MHz
 | 295MHz
 | 277MHz
 | -166MHz
 | -184MHz
MHz
MHz

## Slide 11: Doppler shift broadened absorption
Decreasing absorption (increasing power)
‘Atomic Physics’ by Foot.

## Slide 12: Pump beam hole burning
Now that our absorptions are Doppler smeared, we use the pump beam to select atoms with zero velocity.
Increasing power (decreasing absorption)
Increasing frequency
4s F=1
4s F=2
‘Atomic Physics’ by Foot.

## Slide 13: Crossover effect
Every pair of peaks has a composite peak halfway in between from the doppler shifts of the two side peaks.
Increasing power (decreasing absorption)
Increasing frequency
‘Atomic Physics’ by Foot.

## Slide 14
Increasing power (decreasing absorption)
Increasing frequency
Enhanced absorption

## Slide 15: Enhanced absorption
Increasing power (decreasing absorption)
Increasing frequency
2->1
2->2
1->1
1->2
1->1 + 2->1
Because the two Doppler crossed frequencies start from different hyperfine ground states the pump does not steal from the probe.
Instead, the pump beam states randomly decay towards the opposing hyperfine, increasing the population the probe sees.

## Slide 16: Enhanced absorption
Increasing power (decreasing absorption)
Increasing frequency
2->1
2->2
1->1
1->2
1->1 + 2->1
Atoms moving towards the probe beam absorb the pump beam in the 1->1 transition, which randomly decays, populating the F=2 ground state for the probe beam which is absorbed in the 2->1 transition.
Atoms moving away from the probe beam absorb the pump beam in the 2->1 transition, which randomly decays, populating the F=1 ground state for the probe beam which is absorbed in the 1->2 transition.

## Slide 17: Locking the laser frequency using absorption peaks
Using a solenoid and the Zeeman effect to produce slight high-frequency energy oscillations in the cell, correlating absorption peaks to our magnetic scan we can produce a cleaner signal and lock to the peak with a Proportional Integral Derivative control loop.
Raw absorption signal
Lockin Detector ‘cleaned signal’

## Slide 18: Very early data
K41 2->1 and 2->2 absorptions
K41 1->1 and 1->2 absorptions

## Slide 19: Thank you!